## Solar Simulator
Solar Cell Wattage | 300 | w | (System Specification Inputs are Yellow) | [7 empty] | Solar Power Simulator
System Efficiency | 50 | % | (50% is a safe assumption)
Light Wattage | 30 | w | (Change them and watch how the graph behaves)
Load 2 Wattage | 60 | w | [26 empty] | Days 2 - 7 are autofilled based on Day 1 Activities
Battery Capacity | 100 | AH |  |  | Day 1 | [23 empty] | Day 2 | [23 empty] | Day 3 | [23 empty] | Day 4 | [23 empty] | Day 5 | [23 empty] | Day 6 | [23 empty] | Day 7
Battery Quantity | 1 |  |  | Time of Day | 0:00 | 1:00 | 2:00 | 3:00 | 4:00 | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12:00 | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 20:00 | 21:00 | 22:00 | 23:00 | 0:00 | 1:00 | 2:00 | 3:00 | 4:00 | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12:00 | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 20:00 | 21:00 | 22:00 | 23:00 | 0:00 | 1:00 | 2:00 | 3:00 | 4:00 | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12:00 | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 20:00 | 21:00 | 22:00 | 23:00 | 0:00 | 1:00 | 2:00 | 3:00 | 4:00 | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12:00 | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 20:00 | 21:00 | 22:00 | 23:00 | 0:00 | 1:00 | 2:00 | 3:00 | 4:00 | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12:00 | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 20:00 | 21:00 | 22:00 | 23:00 | 0:00 | 1:00 | 2:00 | 3:00 | 4:00 | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12:00 | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 20:00 | 21:00 | 22:00 | 23:00 | 0:00 | 1:00 | 2:00 | 3:00 | 4:00 | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12:00 | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 20:00 | 21:00 | 22:00 | 23:00
Battery Voltage | 12 | V |  | Charge | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0
Discharge Limit | 50 | % |  | ChargeWatts | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75 | 75 | 150 | 150 | 150 | 150 | 150 | 150 | 75 | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75 | 75 | 150 | 150 | 150 | 150 | 150 | 150 | 75 | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75 | 75 | 150 | 150 | 150 | 150 | 150 | 150 | 75 | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75 | 75 | 150 | 150 | 150 | 150 | 150 | 150 | 75 | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75 | 75 | 150 | 150 | 150 | 150 | 150 | 150 | 75 | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75 | 75 | 150 | 150 | 150 | 150 | 150 | 150 | 75 | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75 | 75 | 150 | 150 | 150 | 150 | 150 | 150 | 75 | 75 | 0 | 0 | 0 | 0 | 0 | 0
Total Capacity | 100 | AH |  | Light Usage | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
Watt Hours | 1200 | WH |  | Usage Watts | 0 | 0 | 0 | 0 | 0 | 30 | 30 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 30 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 30 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 30 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 30 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 30 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 30 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 0
20 Hr Draw Rate | 5 | A |  | Load 2 Usage | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Max Draw Rate | 7.5 | A |  | Usage Watts | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 Hr Rate OK? | NO |  |  | Net Amp Draw | 0 | 0 | 0 | 0 | 0 | 2.5 | 2.5 | 7.5 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5 | 2.5 | 7.5 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5 | 2.5 | 7.5 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5 | 2.5 | 7.5 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5 | 2.5 | 7.5 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5 | 2.5 | 7.5 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5 | 2.5 | 7.5 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 0
|  |  |  | Net Watts | 0 | 0 | 0 | 0 | 0 | -30 | -30 | -90 | 15 | 75 | 150 | 150 | 150 | 150 | 150 | 150 | -15 | 45 | -30 | -30 | -30 | -30 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | -30 | -90 | 15 | 75 | 150 | 150 | 150 | 150 | 150 | 150 | -15 | 45 | -30 | -30 | -30 | -30 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | -30 | -90 | 15 | 75 | 150 | 150 | 150 | 150 | 150 | 150 | -15 | 45 | -30 | -30 | -30 | -30 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | -30 | -90 | 15 | 75 | 150 | 150 | 150 | 150 | 150 | 150 | -15 | 45 | -30 | -30 | -30 | -30 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | -30 | -90 | 15 | 75 | 150 | 150 | 150 | 150 | 150 | 150 | -15 | 45 | -30 | -30 | -30 | -30 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | -30 | -90 | 15 | 75 | 150 | 150 | 150 | 150 | 150 | 150 | -15 | 45 | -30 | -30 | -30 | -30 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | -30 | -90 | 15 | 75 | 150 | 150 | 150 | 150 | 150 | 150 | -15 | 45 | -30 | -30 | -30 | -30 | -30 | 0
|  |  |  | Charge Level | 1200 | 1200 | 1200 | 1200 | 1200 | 1170 | 1140 | 1050 | 1065 | 1140 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1185 | 1200 | 1170 | 1140 | 1110 | 1080 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1020 | 990 | 900 | 915 | 990 | 1140 | 1200 | 1200 | 1200 | 1200 | 1200 | 1185 | 1200 | 1170 | 1140 | 1110 | 1080 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1020 | 990 | 900 | 915 | 990 | 1140 | 1200 | 1200 | 1200 | 1200 | 1200 | 1185 | 1200 | 1170 | 1140 | 1110 | 1080 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1020 | 990 | 900 | 915 | 990 | 1140 | 1200 | 1200 | 1200 | 1200 | 1200 | 1185 | 1200 | 1170 | 1140 | 1110 | 1080 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1020 | 990 | 900 | 915 | 990 | 1140 | 1200 | 1200 | 1200 | 1200 | 1200 | 1185 | 1200 | 1170 | 1140 | 1110 | 1080 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1020 | 990 | 900 | 915 | 990 | 1140 | 1200 | 1200 | 1200 | 1200 | 1200 | 1185 | 1200 | 1170 | 1140 | 1110 | 1080 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1020 | 990 | 900 | 915 | 990 | 1140 | 1200 | 1200 | 1200 | 1200 | 1200 | 1185 | 1200 | 1170 | 1140 | 1110 | 1080 | 1050 | 1050
|  |  |  | Charge % | 100% | 100% | 100% | 100% | 100% | 97.5% | 95% | 87.5% | 88.75% | 95% | 100% | 100% | 100% | 100% | 100% | 100% | 98.75% | 100% | 97.5% | 95% | 92.5% | 90% | 87.5% | 87.5% | 87.5% | 87.5% | 87.5% | 87.5% | 87.5% | 85% | 82.5% | 75% | 76.25% | 82.5% | 95% | 100% | 100% | 100% | 100% | 100% | 98.75% | 100% | 97.5% | 95% | 92.5% | 90% | 87.5% | 87.5% | 87.5% | 87.5% | 87.5% | 87.5% | 87.5% | 85% | 82.5% | 75% | 76.25% | 82.5% | 95% | 100% | 100% | 100% | 100% | 100% | 98.75% | 100% | 97.5% | 95% | 92.5% | 90% | 87.5% | 87.5% | 87.5% | 87.5% | 87.5% | 87.5% | 87.5% | 85% | 82.5% | 75% | 76.25% | 82.5% | 95% | 100% | 100% | 100% | 100% | 100% | 98.75% | 100% | 97.5% | 95% | 92.5% | 90% | 87.5% | 87.5% | 87.5% | 87.5% | 87.5% | 87.5% | 87.5% | 85% | 82.5% | 75% | 76.25% | 82.5% | 95% | 100% | 100% | 100% | 100% | 100% | 98.75% | 100% | 97.5% | 95% | 92.5% | 90% | 87.5% | 87.5% | 87.5% | 87.5% | 87.5% | 87.5% | 87.5% | 85% | 82.5% | 75% | 76.25% | 82.5% | 95% | 100% | 100% | 100% | 100% | 100% | 98.75% | 100% | 97.5% | 95% | 92.5% | 90% | 87.5% | 87.5% | 87.5% | 87.5% | 87.5% | 87.5% | 87.5% | 85% | 82.5% | 75% | 76.25% | 82.5% | 95% | 100% | 100% | 100% | 100% | 100% | 98.75% | 100% | 97.5% | 95% | 92.5% | 90% | 87.5% | 87.5%
|  |  |  | Limit Line | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50%
The graph shows a period of 7 days and starts with a charged battery bank
Play around with the yellow cell numbers to design the system
The graph MUST return to 100% for a bit each day or the batteries will eventually die
If the system spends multiple hours a day at 100%, then the system is over built and you spent too much money
Increasing the number of batteries on an undersized set of solar cells merely prolongs system death
The default system shown in the graph is oversized. You can reduce the cell power, batteries, battery capacity, or increase the loads
The green numbers in Charge can be altered based on the sun's position for the time of year
The red numbers in Usage can be altered depending on when you plan to run the lights and other loads
Don't discharge the battery too deeply. Batteries typically can only be discharged between 50 and 80%. The red line is the hard limit
The system is sized for December 21st in Omaha
Note on E7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Percentage of Charge vs time of day. 1 = full sun & full charge, 0 = no sun. .5 = low sun
Note on B13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If the cell is "NO", then you need to reduce the load on the system, or increase the battery capacity, because the battery capacity is based on a discharge of 20 hours. If you discharge the batteries at a rate higher than the 20 hour rate, the effective battery capacity will be less. Like how your gas tank doesn't last as long if you drive faster.

## Parts List
Main System Components
| Brand | Model/Type | Wattage/Amps | Capacity | Cost | Notes | Source
Solar Panel A | DOKIO | 300W Foldable | 300 | N/A | 335 | Need Extn Cables too | https://www.amazon.com/DOKIO-Monocrystalline-Foldable-Inverter-Controller/dp/B07JPH4PHG/ref=sr_1_8?dchild=1&keywords=250+watt+solar+panel&qid=1594301852&refinements=p_72%3A2661618011&rnid=2661617011&sr=8-8
Solar Panel B | Renogy | 100W | 100 | N/A | 104 | Need 3 & extra cables | https://www.amazon.com/Renogy-Watt-Monocrystalline-Solar-Panel/dp/B01B3TEM1E/ref=sr_1_11?dchild=1&keywords=300%2Bwatt%2Bsolar%2Bpanel&qid=1594302514&sr=8-11&th=1
Solar Panel C | Renogy | 160W Flex | 160 | N/A | 175 | Need 2 & cables | https://www.amazon.com/Renogy-Extremely-Flexible-Monocrystalline-Solar/dp/B079HJQBVW/ref=sr_1_2?dchild=1&keywords=300+watt+flexible+panel&qid=1594302584&sr=8-2
Battery A | Duracell | GC2 | 2580 | 215 | 90 | Need 2 | https://www.samsclub.com/p/duracell-golf-car-battery-group-size-gc2/prod3590228?xid=plp_product_1_1
Battery B | Duracell | 31DCX | 1260 | 105 | 99 | Need 1 | https://www.samsclub.com/p/duracell-marine-battery-group-size-29hm/prod3590216?xid=plp_product_1_9
Battery C | MightyMax | ML100-12 | 1200 | 100 | 175 | Need 1 | https://www.amazon.com/Mighty-Max-Battery-100AH-Product/dp/B00S2MDZFK
Lights A | E Shine | 20" | 5W | N/A | 37ea | 12 max | https://www.amazon.com/EShine-Dimmable-Under-Cabinet-Lighting/dp/B07BHG38Q6?ref_=ws_cp_0074fdd9a0c079128e71_pcr_2_i&th=1
Lights B | LE | 5m 2835SMD | 18W | N/A | 10 | 3 Max | https://www.amazon.com/Flexible-Kitchen-Christmas-Non-waterproof-Daylight/dp/B00HSF65MC/ref=sr_1_2_sspa?dchild=1&keywords=white+led+strip&qid=1594228465&s=hi&sr=1-2-spons&psc=1&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUEySkJWN0FBVEQxQlY1JmVuY3J5cHRlZElkPUEwMjk1Nzc5MlRHNjhNSVFNMFRDNCZlbmNyeXB0ZWRBZElkPUEwMjg5NzYzQTlENk9XT1c3R0hHJndpZGdldE5hbWU9c3BfYXRmJmFjdGlvbj1jbGlja1JlZGlyZWN0JmRvTm90TG9nQ2xpY2s9dHJ1ZQ==
Lights C | Too many options here. Just keep the total lights on at one time to less than 60 watts
Controller | Binen | 30A | 30 | N/A | 17 |  | https://www.amazon.com/Controller-Regulator-Intelligent-Adjustable-Parameter/dp/B07STZSG9J/ref=sr_1_4?crid=17Z7DF2T4CTDU&dchild=1&keywords=30a+solar+charge+controller&qid=1594227435&s=lawn-garden&sprefix=30+a+%2Clawngarden%2C178&sr=1-4
Bus | Blue Fire | N/A | 20 | 6 circuits | 23 |  | https://www.amazon.com/BlueFire-Upgraded-Standard-Indication-Protection/dp/B07FTLGH5J/ref=sr_1_26?dchild=1&keywords=solar+bus+bar&qid=1594227571&s=hi&sr=1-26
Light Wiring | Milapeak | 18ga | Dep on Length | 100' | 22 ea | 56' max run at 1 amp | https://www.amazon.com/Electrical-Stranded-Flexible-Extension-MILAPEAK/dp/B07CWQ6JPB/ref=sr_1_8?dchild=1&keywords=18ga+wire+spool&qid=1594228345&s=hi&sr=1-8
Solar Panel Cables | WindyNation | 10ga | N/A | N/A | 38 ea | Need 1 set per panel | https://www.amazon.com/WindyNation-Gauge-Black-Extension-Connector/dp/B01D7VBKMK/ref=sr_1_3?dchild=1&keywords=solar%2Bpanel%2Bcables&qid=1594302676&sr=8-3&th=1
Connectors | BeideLt | Snap connectors |  |  |  | Buy these if you go with longer cables and want to cut your own to save some money | https://www.amazon.com/BEIDELT-Connectors-Waterproof-Connector-Connecting/dp/B07P8NSH2N/ref=sr_1_5?dchild=1&keywords=solar+panel+connectors&qid=1594302866&sr=8-5
Panel Cable Splitters | JHBOX | Splitters/Combiners |  |  |  | This if multiple panels | https://www.amazon.com/dp/B081PRTR1X/ref=sr_1_5?dchild=1&keywords=solar+panel+connectors&qid=1594302961&sr=8-5
Also will need a set of crimpers, soldering iron, solder, liquid rosin flux, and probably a selection of heat-shrinnk tubing
Note on D7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Watt Hours